Commissioners Meeting

November 1, 2011
Meeting called to order at:
7:05 p.m.
Members in attendance:
Bob Josey, Keith Bloniasz
Others in attendance:  Robert Sullivan

The approval of the September meeting minutes was not available.
Monthly Sewer Report:  Rainfall 5.67 inches, flow of wastewater 6,564,000 gal, average 219,000 a day, waster 56,875 gal, haul 72,000 gal Synco, DOD and TSS in compliance for the month.

September 1 no power at plant, back up generator came on, Midstate came to pump.

September 23 no power at Cook Street, Midstate came to pump.  National Grid came because of tree fell on pole towards station.

Monthly Water Report:  6,693,400 pumped, average 215,916 gal, 316 gal of KOH, sampling was good for the month.


Installed flow valve at Glen Street.


Dave greased all the pumps.

Dave replaced meter on Maple Street.


Dave bought notepad with thumb drive.

Bills went out and a few calls.


There were a few mistakes with programming, changing rates causing glitches.


There were clerical error with school which were fixed and abated.


Received several phone calls- usage went up with rates.

Confusion about rates, basic service charges from $30 to $25 to $60 to $40 and the construction fees stayed the same at  $44 and $63.

Bob, Lee and Dave are continuing to work on problems.

Dave is doing hydrant flushing and next week Dave will check meters if needed.

The expansion on the new school issues that were discussed:
Meeting with Fire Chief, Fire Marshal, and School Building Committee to discuss water line loop if it’s required or desired.

Fire Marshal says he won’t know till it’s done.  They still have liability and water quality to think about. He suggested when they are done to run a flow test because now it’s based off mathematical equations and not flow data.  Flow test it when completed.

They’ll discuss it at the Board of Selectman meeting.

There was talk about e-mail to Mitch regarding the loop.

Is it okay to go through the ledge or go around?  Discuss it more and get estimates.

The Settlement Agreement, 20 year permit up this year. 


They cut water allotment way down, DEP attorneys put more wording in to try and help.  

If we need more water we can file for more and speed up application if needed.  Bottom-line, attorney says that this is that best.  


As long as we show growth, we can get more water.

According to the permit we have to implement a water ban every summer even if there is not drought.  It’s a requirement of the permit.

Sprinkler System rules


There has been a band on sprinkler systems since 2002 unless on a well or a pond.


Bob Josey will follow up with guy to make sure he’s pumping out of him pond.


No one is getting permits for backflow provender permits.


Bob Josey will talk to the guy at the bank about pulling permits.

The Motion on what is presented to the Board of Selectman.


Keith Bloniasz motions to select the language change by the DEP, document # 2010-024.


The vote is all I’s.


Bob Josey accepts it.

Sutton bought the dam for $1 from Interface.


Interface donated $250,000 for maintenance.


So we have no control over the dams.

The lowest level to keep everything healthy is seven according to the conservation requirements.

Miscellaneous Items


During the storm we lost power but the generators ran everything.

Pump station West Street turbine lost power, call into Verizon to come and investigate, caused from storm.

New well in for irrigation system for new school, they may have to build a storage tank.

Bob Josey wants Bob Sullivan to send e-mail to business manager.


The building on Cook Street is for sale.  What are we going to do about it?


There was talk about the print out from Steve Zisk.

Aqua for Protection for Spring time meeting, sometime December present to Board of Selectman, planning board, and then vote at town meeting.  

It’s a very time sensitive issue.  No time limit to present it to Selectman.

ADJOURNMENT:

Motion made by  Keith Bloniasz to adjourn the meeting at 7:40 p.m.

Seconded by Bob Josey.  VOTE ALL AYE.

Respectfully submitted

