Commissioners Meeting

March 6, 2012
Meeting called to order at:
7:55 p.m.
Members in attendance:
Bob Josey, Keith Bloniasz, Colin Haire
Others in attendance:  
Robert Sullivan

Keith Bloniasz makes a motion to approve minutes from the February 7, 2012 meeting.  

Colin Haire seconds.

All in favor, aye.

Robert Sullivan read Monthly Water Report

There is on going maintenance of the transfer pumps.

They cost $70 and last about one year.  

The chemical is eroding the materials so Dave added plastic parts with safety wire.  



The other piece costs $1800 and lasts the same amount of time.

The catalytic converter was replaced, recalled, no cost.  It was the knocking noise.

Robert Sullivan read Monthly Sewer Report


Corrected February Monthly Sewer Report, see attached.

Robert Sullivan explained how effluent process works.


RE Erickson will be called to come in to check equipment.

Aquifer Protection


Scheduled to go to next planning board meeting.
Map changes based on FST’s recommendations, implemented changes required from DEP, areas outlined to identify the water resource district, working changes corrected and a few additional changes based on the Town Council’s recommendations for more procedural type changes.  
Robert Sullivan will send copies.

Expansion of Sewer
Robert Sullivan went to Capital Committee about Master Plan for the Sewer to give us direction on where we need to go for expansion.  


We need an idea of where can we expand to and the cost that is  involved.
Spring Billing Plan

Do not put in bills, issues would be raised for no reason.

New Sump Pump Survey


It is recommended sending it with bills, only to sewer customers with date on it.

Eliminate enclosed envelope with it because it’s voluntary.

Water and Sewer Balances as of 2/29/12 

Outstanding accounts are a total of 246 with balances of $74,705.06.

Customer’s can make payments at the Tax Collector any time they desire, no payment plans.


Services are the fees.

We must follow the list of dates so we can collect as much money as possible by June 30.

Budget

Robert Sullivan went over.
Miscellaneous Water or Wastewater related items

EPA and DEP inspection on March 28.



They are coming out for the draft permit and to do a walk through.


Ralph is retiring the end of the month.



Advertise in the newspaper and NWPCA website.



Can you do something in Work Force Central?



What about waste magazines?  They only advertise once a month.



Do you want a committee to hire?




Think about it, maybe one outside from personal board.
ADJOURNMENT:

Motion made by  Keith Bloniasz to adjourn the meeting at 8:40 p.m.

Seconded by Colin Haire.  VOTE ALL AYE.

Respectfully submitted
