Commissioners Meeting

April 3, 2012
Meeting called to order at:
7:30 p.m.
Members in attendance:
Bob Josey, Keith Bloniasz, Colin Haire
Others in attendance:  
Robert Sullivan

Amended minutes from precious meeting:  remove Spring Billing Plan section.
Keith Bloniasz makes a motion to approve amended minutes from the March 6, 2012 meeting.  

Colin Haire seconds.

All in favor, aye.

Robert Sullivan read Monthly Sewer Reports

Revised Monthly Sewer Report from February’s meeting.


Monthly Sewer Report for March

No Monthly Water Report available.


Dave is flushing the Well Fields.

A guy dropped off a budgetary quote to rehab the wells.  He gave us a price to do wells 1 and 2 which total: $27,500.00.  
Another budgetary quote for the replacement motors for the pumps themselves are: $15,120.00.  This may be something we want to plan for FY14.

The maintenance crew is coming on April 23rd for Franklin Street and Church Street.

Aquifer Protection

Attended two Planning Board Meetings but there is still another on April 10th.  
The first was informational and there was a lot for them to digest. 
 The second was the Public Hearing which got side tracked and didn’t complete.  

A concern was the Pipeline and they wanted Robert Sullivan to do some research.


Single wall pipe.


Sensing detections in case of brakes.  



Fly overs done as well.



We’re classified as a highly sensitive area.



They go over with the Fire and Police Chief emergency plans.

Spring Billing


Everything customers have called about have been addressed and corrected if needed.


New meters have been used in the changed meters this round.

Computers


One is broken.  If it is kept on a long time the keyboard stops working and the computer freezes.

Talked to Town IT guy and he said because of sensitive information that we should contact the system we bought it from.

The company said we would have to replace both computers to run together, waiting for quote.


Computers are to only run plant, no internet service.  They are always on.  


Where is the laptop that was supposed to come with plant?

Recommendations:  2 new computers, 2 new licenses for software and decision on the laptop.  If we never received the laptop, maybe we can get a new one for free.

No personal items shipped to work, to avoid any confusion.

ADJOURNMENT:

Motion made by  Robert Josey to adjourn the meeting at 8:20 p.m.

Seconded by Keith Bloniasz.  VOTE ALL AYE.

Respectfully submitted
