Commissioners Meeting

October 7, 2014
Meeting called to order at:
7:30 p.m.
Members in attendance:
Robert Josey, Colin Haire and Keith Bloniasz
Others in attendance:  
 Systems Manager, Robert Sullivan

No Citizens Forum

Previous Meeting Minutes


Under the extension section where it says eight inches to make loop, should 
say eight inch main.

Keith Bloniasz makes a motion to accept the meeting minutes as amended 
from September 4, 2014.



Colin Haire Seconds.



All in favor, Aye.

Robert Sullivan reads Monthly Sewer Report for September 
Robert Sullivan reads Monthly Water Report for September
Robert Sullivan reads Monthly Water Report for August


Resample was done because of bacteria hit.  


Microbac said equipment was down- sending it to another lab.  


Samples came back clean from new lab.

We have now changed labs.

Extensions


North East Main done, connected.

North West Main still has to test line and three taps to put it in before 
paving it.

The hydrant in the middle is better for fire protection.

Once we finish the loop it will help further with fire protection.

We can do connection on Lackey Dam Road but he has to do excavating.
Open Session


DPW



Selectmen’s meeting was about forming a committee, Department of 


Public Works Committee.


Before our next meeting notify Mike by November 3 for a 



commissioner to be on the committee.



Colin Haire makes motion to appoint Keith Bloniasz as the 



Water and Sewer Representative for DPW Committee.



Robert Josey Seconds.



All in favor, Aye.


Keith and Colin were approached regarding the broken fire hydrant in 


front of the post office.  



This needs to be on the list of repairs.


FST



Quote seems high.


Commissioners want to look over information more.


Get another company to give a quote.

Abatements 



Are all set.

Interviews



The two interviews were good.



There was one interview for Assistant Water Operator.



There was one interview for Assistant Chief Operator.



He’s making more money where he is now.


Robert Sullivan has the approval to go ahead and offer the jobs. 

Keith Bloniasz makes a motion to adjourn at 8:30 p.m.

Colin Haire Seconds.

All in favor, Aye.

PAGE  
October 7, 2014
Page 2

