Commissioners Meeting

July 5, 2016 
Meeting called to order at:
7:15 p.m.
Members in attendance:
Robert Josey and Keith Bloniasz 
Others in attendance:  
 Systems Manager, Robert Sullivan

Citizens Forum
None
Meeting Minutes
None
Robert Sullivan reads Monthly Water Report
No Water Report
Robert Sullivan reads Monthly Sewer Report 


River is dry.

Misc

Lighting strike causing a power serge caused equipment to go down at plant.  


Everything got up and running except for the effluent which RE Erickson came out and 
fixed.

Plumbing plugged up again at pump station.

46 Main Street line broke but we repaired it.

Fire on Gilboa Street, pressure in line dropped- after investigating it wasn’t the hydrant.  
Recommended that the fire department check their truck.  


They took water from the river.

Dave retired- trying to clean up over there.

Rate Study is not completed, Colin would like more information.  

Need to put ads out for Dave’s position.

Contracts for Booster Station are signed.


Keith Bloniasz makes a motion to adjourn at 7:40 p.m.

Robert Josey Seconds.

All in favor, Aye.
PAGE  
July 5, 2016
Page 1

