
Commissioners Meeting

January 03, 2023
7:00 p.m.

DWS Office:  29 Charles Street
FY23
Meeting called to order at:
7:15 p.m.
Members in attendance:
Robert Josey, Colin Haire and Keith Bloniasz
Others in attendance:  
Systems Manager, Robert Sullivan
System Manager’s Water and Sewer Reports
Robert Sullivan reads the Monthly Water Report
Robert Sullivan reads the Monthly Sewer Report

Permit Discussion and Site Readiness Grant Inspection Discussion

Review and Approve Meeting Minutes
Bypass 
Project Update
Sewer Project Update on Gilboa Street

Plates coming up, paving issues, trench maintenance and we received many complaints.

Our portion is done so we are not holding anyone else up.
Gas Project Update


Supposed to start gas this week- going four feet deep- going to take until spring.

It is about 9,000 feet of pipe.
Two to three pipes a day.  Just getting the main installed, 
will stub commercials and then stub along the way.

CRG are going to put up jersey barriers and try to beat them where the bridge is going to 

be.
Pump Station Project Update


Pump Station is going to the right of where it is located at now.


Need to put plug valves at each end in.

Davis Street and Monroe Project Update



Quarter a way through the design portion


Design is looking at all of it – all the way to Uxbridge with the water, sewer they will go 
as far as with the gravity about to the pipeline, anything beyond that is a pump station.
North Street Project Update


Waiting for the contract to be resolved- water and sewer, drainage and straightening the 
road a little, sidewalks might be installed but it has to go through engineering process.  
This would involve an elevated tank about 300,000.  
Permit Process Discussion.

Sewer Asset Management Plan

Looking at all of our assets, part of the I & I Study.

 A lot of these are small issues and will try to incorporate into these bigger projects 
but the worst looks like C Street, which needs to be lined and may be a pump station 
issue.


All sewer repairs on North Street as part of that project if we move forward on the 
project. 

Water Asset Management Plan was awarded for $ 90,000.00, which will not start 
until 
the end of the year after we finish the Sewer Asset Management.

The department received a grant for the Lead and Copper for $ 75, 000.00.
School Exception Meter Discussion


This was added to the agenda because the school said they would come back in to the 
meeting to discuss and Irrigation Well.  Robert Sullivan has not reached out to 
Cortney but will contact her regarding Exception Meter.  In addition, he will make sure that it is only irrigation going 
through that meter.
Goals and Objectives for FY23

Nothing

Open Session for topics not reasonably anticipated 48 hours in advance of the meeting
Staff Update:  Robert Sullivan has one application and must meet with him.


He is going to put more ads out and put it on Linked In.

Keith Bloniasz makes a motion to adjourn at 8:15 p.m.

Colin Haire Seconds.

All in Favor, Aye (Robert Josey, Colin Haire and Keith Bloniasz).
1
January 03, 2023 FY23- AMENDED/APPROVED February 07, 2023 Commissioner’s Meeting
Page 2

