Commissioners Meeting

September 6, 2022
7:00 p.m.

DWS Office:  29 Charles Street
FY23
Meeting called to order at:
7:20 p.m.
Members in attendance:
Robert Josey, Colin Haire and Keith Bloniasz
Others in attendance:  
Systems Manager, Robert Sullivan

System Manager’s Water and Sewer Reports
No Monthly Water Report- Steve’s on Vacation
Robert Sullivan reads the Monthly Sewer Report

Review and Approve Meeting Minutes

Colin Haire makes a motion to approve the December 14, 2021 Meeting Minutes.
Robert Josey Seconds.

All in Favor, Aye.

January 20, 2022 Meeting Minutes need clarification

Keith Bloniasz makes a motion to approve the February 1, 2022 Meeting Minutes.

Colin Haire Seconds.

All in Favor, Aye.

Colin Haire makes a motion to approve the March 1, 2022 Meeting Minutes.

Keith Bloniasz Seconds.

All in Favor, Aye.

Robert Josey makes a motion to approve the April 1, 2022 Meeting Minutes.

Colin Haire Seconds.

All in Favor, Aye.

Project Update

First part of this project pretty much done.

Flow test exceeded n umbers.


Added extra hydrants down Gilboa Street from what we had originally.



The three not working before are now.



I Hydrants installed

They agreed to two week posting.


If we had to do 30 days it would have put us out of the construction season.

Detailed discussion on the Pump Station

Ever Source Discussion

Sewer Stuff Going On


Smoke Testing done- whole town completed only a few found


Asset Management will be starting soon

Going to apply for the Water Asset Management

Lead Service Line Inventory


DEP pushing it


No lead service lines


Lead goosenecks

Loan through SRF


It would essentially be free


Locating and Identifying


Put article on warrant- can always pull it

Site Readiness Grant


Engineering Water and Sewer Davis Street

Mass Works Grant


To do the Engineering for North Street


Town already approved match $ 100,000.00


Golf Ball Tank 



150 Feet Up



250,000 – 300,000 Gallon Tank




Engineers want 500,000 Gallon Tank- Robert Sullivan does not want it

End of the Year Wrap Up
Robert Sullivan did not meet with Jeanne today

Fried control panel at Glen

Retained Earnings were about $126,000.00

System Development was about $ 160,000.00

Reorganize

Colin Haire makes a motion to keep all the same seats.
Keith Bloniasz Seconds.

All in Favor, Aye.
Private Hydrant Discussion

Robert Sullivan not sure what this is about


Steve Added

More discussion with Steve and more details to present at next meeting.

Town Common Discussion on Backflow

Goals and Objectives 
None
Open Session 
Generator Update


We have the one for Primary- waiting for install


We are still waiting for the one here at the Plant

Update on Staffing

Robert Sullivan met with Matt



Internal posting this week for 2 weeks


3 Positions


Discussion on Commissioner’s involvement

Colin Haire makes a motion to adjourn the meeting at 8:37 p.m.

Keith Bloniasz Seconds.

All in Favor, Aye.
PAGE  
September 6, 2022 FY23
Page 1

